Input Data for structural analysis

of applications in renovation with Lining-, Sliplining with GRP Pipes;

calculation acc.  DWA-A 143, Teil 2

Please send to:

Amiblu Holding GmbH

Pischeldorfer Straße 128

A-9020 Klagenfurt

T +43 463 482424

info@amiblu.com

|  | Text input. |
| --- | --- |
|  | project name |  |  |
|  | Text input. |  | Text input. |
|  | company |  | contact person |
|  | Text input. |  | Text input. |
|  | street |  | phone/fax |
|  | Text input. |  | Text input. |
|  | postcode |  | mail |
|  | Text input. |  | Text input. |
|  | city |  | date/stamp/signature |

Details to the geometry old channel (circular shape, egg shape, other shape)

| inner diameter old pipe | Text input. | mm |  |
| --- | --- | --- | --- |
| minimal cross section old pipe | Text input. | mm | (for pipe design) |
| profile shape | circular | egg | others | Text input. |
| material | Text input. |
| local predeformation | Text input. | % |
| section length | Text input. | m |
| pipe slope | Text input. | % |

Details to the required GRP pipe; spacers; plastic skids

| pipe material | GRP (UP-GF) |  | sewer pipe |  |
| --- | --- | --- | --- | --- |
| nominal diameter DN | Text input. |  | pressure sewer pipe |  |
| pressure class PN | Text input. |  | pressure pipe |  |
| nominal stiffness SN | Text input. |  | potable water pipe |  |

| Spacer planned | yes | no | others |  |
| --- | --- | --- | --- | --- |
|  |  |  | Text input. |
| axial gap of spacer grid | Text input. | m |  |

| short information to the planned installation (Pipe support, Pipe fixation, construction details, etc.) | Text input. |
| --- | --- |
|  | Text input. |
|  | Text input. |
|  | Text input. |
|  | Text input. |
|  | Text input. |

details to the loads; characteristic values of soil

| old-pipe condition I (ARZ 1) | Old pipe structurally load-bearing (e.g. leakage in the pipe connection or wall; no cracks, excluded hair-cracks) |
| --- | --- |
| old-pipe condition II (ARZ II) | Old pipe-ground system structurally load-bearing (e.g. longitudinal scratches with low pipe deformation with checked active lateral bedding. Confirmed e.g. by long time observation and / or dynamic probing of soil resistance) |
| old-pipe condition III (ARZ III) | pipe-ground system long-early only not more load-bearing; clear distortions; towards condition II the liner is also claimed by earth loads and traffic loads |

Text input.

Ground water over pipe Invert* 	    max hW,So      m

* acc. DWA A-143-2 OD+100mm; however at least 1500mm above pipe-invert

| Only for old-pipe condition ARZ III: |
| --- |
|  | cover depth above the pipe crown | from | Text input. | m |  | to | Text input. | m |
|  | native soil |  | G1, non-cohesive soils (gravel, sand) |
|  |  |  | G2, slightly cohesive soils |
|  |  |  | G3, cohesive mixed soils, silt |
|  |  |  | G4, cohesive soils, except silts |
|  |  | proctor density native soil | or | modulus of deformation native soil |
|  |  | Text input. | % | Text input. | N/mm² |
|  | traffic load | no traffic load |  |  |
|  | road | HCL/LM1 | Text input. |
|  | railway | UIC/LM71 |  | single track |  | multiple track |
|  | aircraft load | DAC/BFZ | Text input. |
|  | others |  | Text input. |

General damage description of the old pipe, e.g. leaching at pipe invert, longitudinal cracks at pipe crown, circumferential cracks, broken shards, missing pipe pieces, other damages

Texteingabe.

Texteingabe.

Texteingabe.

Texteingabe.

Water filling in the relining pipe while grouting of the annular gap

| No water filling |  |
| --- | --- |
| partial charge of water filling |  | Water depth middle of canal section | Text input. | m |
| Pipe completely filled with water |  | Water height above pipe crown (upper section end) | Text input. | m |
| additional load inside the pipe |  | Text input. | Kg/m |
| specific weight of the grout material | Text input. | KN/m3 | Example: | Standard grout material 14-18 KN/m³ |
|  |  | light grout material 8-14 KN/m³ |
| Grout level above pipe crown (lower section end | Text input. | m |  |
|  |  |  |  | Please provide technical data sheet of the planned grout material! |
| multi-stage grouting | yes | no |  |
|  | Number of layers | Text input. | Pc. |
|  | Layer height | Text input. | m |