Data sheet for structural analysis

For case of application buried manholes ;

calculation based on DWA-A 127

Please send to:

Amiblu Holding GmbH

Pischeldorfer Straße 128

A-9020 Klagenfurt

T +43 463 482424

info@amiblu.com

|  | Text input. |
| --- | --- |
|  | project |  |  |
|  | Text input. |  | Text input. |
|  | company |  | Contact person |
|  | Text input. |  | Text input. |
|  | street |  | phone/Fax: |
|  | Text input. |  | Text input. |
|  | postcode |  | signature: |
|  | Text input. |  | Text input. |
|  | city |  | Date/Stamp |

manhole:

| Manhole diameter DN | Text input. |  | manhole for sewerage; open channel |  |
| --- | --- | --- | --- | --- |
|  |  |  | manhole with closed channel |  |
| Shaft pipe material | GRP (GF-UP) |  | pumping station: wet installed pump |  |
| Shaft nominal stiffness SN | Text input. |  | pumping station: dry installed pump |  |
|  |  |  | installation in water protected area’s |  |
|  |  |  | Free input |  |
|  |  |  | Text input. |

specification of traffiv loads:

| Traffic loads | street | No traffic |  | HCL 60 |  | HCL 30 |  | HGV 12 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Railroad |  | LM71 one track |  | LM71 two tracks |  |
| Additional loads: | e.g. surface loads (N/mm²) | Text input. |
|  |  | Text input. |

installation dimensions of the manhole: Installation depth h1 Text input. mm Pipe length h2 Text input. mm Ground water heigth min. hw min Text input. mm Ground water heigth max. hw max Text input. mm

| types of native soil acc. ATV-A 127; DIN 18196: |
| --- |
|  |  | native soil |  | bedding |
| G1 | non cohesive soils (gravel, sand) (GE, GW, GI, SE, SW, SI) |  |  |  |
| G2 | slightly cohesive soils (GU, GT, SU, ST) |  |  |  |
| G3 | cohesive mixed soils, silt (GŪ, GŤ, SŪ, SŤ, UL, UM) |  |  |  |
| G4 | cohesive soils, except silts (TL, TM, TA, OU, OT, OH, UA) |  |  |  |
|  | other soils | Text input. |  | Text input. |
|  | proctor density DPR in % (85-110) | Text input. |  | Text input. |
|  | known E-modulus in N/mm2 (1-200) | Text input. |  | Text input. |

| Information for Manhole construction: |
| --- |
|  | Excavation slope angle ß |  | 45° |  | 60° |  | 90° |
|  | Free space between manhole and sheeting / native soil | Text input. | mm |

| Coverplate construction details: |
| --- |
|  | Acc. To drawings of the manhole supplier |
|  | Other construction forms (please absolutly add drawing) |
|  | Cover plate on separate foundation (load separation ) |

| Base plate construction details: |
| --- |
|  | Acc. To drawings of the manhole manufacturer |
|  | Other construction forms (please absolutly add drawing) |
|  | Manhole with flotation control |

| Installations at the shaft pipe: |
| --- |
|  |  |  | 1 | 2 | 3 | 4 |
|  | 270° |  |  | nozzle |  | nozzle |  | nozzle |  | nozzle |
|  |  |  |  | opening |  | opening |  | opening |  | opening |
| 180° | 0° |  |  |  |  |  |
|  |  | A | position | Text input. | ° | Text input. | ° | Text input. | ° | Text input. | ° |
|  |  | material | Text input. |  | Text input. |  | Text input. |  | Text input. |  |
|  | 90° | nominal diameter | Text input. | mm | Text input. | mm | Text input. | mm | Text input. | mm |
|  |  | wall thickness | Text input. | mm | Text input. | mm | Text input. | mm | Text input. | mm |
| Installation Equipment: | Weight of installed equipment at shaft pipe | Text input. | KN |
|  | Weight of installed equipment at the manhole foundation | Text input. | KN |